Free Cool on Grid DC Inverter 
    solar air-conditioner FCDC S-359GW/PV

## Specifications

100%solar energy, no electricity, environmental 
Specifications

1.100% energy save by using pure solar power 
2.no need any electricity 

DC inverter ductless split air conditioners for home using
 100% Solar Powered Air Conditioner Main features:

Off-grid mode

* 100% driven by solar energy, 100% energy saving

* 48V DC power drive, no inverter required, no AC power required.

* Deep cycle batteries as energy bank for overnight operation, over 8 hours’ back up time.

* DC inverter permanent magnet compressors

* DC brushless indoor and outdoor fan motors

* Lowest energy consumption, lowest noise level

* Lowest energy loss, SEER>19

* R134a CFC free refrigerant, Eco-friendly

* Short investment recovery period (1-3 years)

* Solar-mains power hybrid mode optional. When the energy in batteries is not enough to drive solar air conditioner (voltage < 45V), you can use a power adapter to drive solar air conditioner. The power adapter can transfer 220V/110V AC power to 48V DC for solar air conditioner using. Under hybrid mode, you can run 24Hr. per day without too much investment in solar panels and batteries. In addition, you can use the power adapter as a batteries charger.

Solar Controller        Battery                         Cables                   Solar Panels

| Wall Mounted Type DC Solar Air-Conditioner |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Power Supply：48VDC (42V to 54 V) |  |  |  |  |  |
| Model No. |  |  |  |  | FC DC S359 GW |
| Performance(R134a /R410a) |  |  |  |  |  |
| Capacity | Cooling |  | Btu/h |  | 24000 |
|  |  |  | W |  | 7200 |
|  | Heating |  | Btu/h |  | 27000 |
|  |  |  | W |  | 8000 |
| Noise | Indoor |  | dB(A) |  | ≤52 |
|  | Outdoor |  | dB(A) |  | ≤60 |
| Air Circulation |  |  | m³/h |  | 1050 |
| Suitable Area |  |  | m² |  | 30~45 |
| EER |  |  | W/W |  | 4.44 |
|  |  |  | Btu/h/w |  | 14.81 |
| Power Consumption |  |  |  |  |  |
| Power Input |  | Cooling |  | W | 1620 |
|  |  | Heating |  | W | 1650 |
| Rated urrent |  | Cooling |  | A | 33.6 |
|  |  | Heating |  | A | 34.2 |
| Dimension |  |  |  |  |  |
| Indoor Unit |  | Net |  | mm | 1090*330*260 |
|  |  | Shipping |  | mm | 1145*375*320 |
| Outdoor Unit |  | Net |  | mm | 920*375*730 |
|  |  | Shipping |  | mm | 1025*395*870 |
| Weight |  |  |  |  |  |
| Indoor Unit |  | Net/Gross |  | kg | 17/20 |
| Outdoor Unit |  | Net/Gross |  | kg | 61/66 |

Technical Parameter for Solar

| Work time 24 hours for backup |  |  |  |  |
| --- | --- | --- | --- | --- |
| 100% solar A/C price（24000Btu） |  |  |  |  |
| no | name | specification | PCS | UNIT |
| 1 | A/C | 24000BTU | 1 | PCS |
| 2 | Battary | 12V 200AH | 24 | PCS |
| 3 | SOLAR PANEL | 12V,150W | 72 | PCS |
| 4 | OTHER PARTS | 200A Solar charger controller | 1 | PCS |

Thoroughly Purified Air

Creates a Healthy & Refreshing Space

Cold Plasma                                                                  Electrostatic Deducting Generator

| Effective sterilization with more than 90% of bacteria killed Odor removal Air nutrition improvement with more negative oxygen ions | By making use of the principle of electrostatic adherence, it can effectively absorb the dust from the air. With detachable design, it is easy for complete cleaning to ensure the quality air. |
| --- | --- |

Photocatalytic Filter                                                         Active Carbon Filter

| This filter is able to completely oxidize and degrade organic contaminants. It can effectively eliminate 99.9% of bacteria, viruses and unpleasant smell. | Activated carbon can effectively adsorb smoke, pet odors, and other unpleasant odors. |
| --- | --- |

Catching Filter                                                               Silver Ion Filter

| Catching extracted from green tea. It can effectively eliminate 95% of carcinogenic agents, such as staphylococcus, streptococcus, salmonella, etc. | Silver ion is able to sterilize 99% of bacteria by suppressing proliferation of mold and bacteria and preventing the cause of unpleasant odors. |
| --- | --- |