Free Cool on Grid DC Inverter 
    solar air-conditioner FCDC-25GW/PV

Main Features

- No need any electricity if in sunshine day and can automatic switch to AC power at night, also can provide the power to grid electricity, save the cost every time.

- Adopt high quality and advanced Panasonic or Toshiba DC inverter compressor

- Remote control and easy installation

- Heating and cooling & cooling only functions

- Our solar air conditioner can provide with frequency 50 hz/60hz, refrigerant R410aVoltage 110v-380v

- CE, ROHS SASO and SAA certification

- Quite and Environment protection

- Super luxurious appearance and LED display

- DC inverter solar air conditioner can run smoothly at -10°C to 55°C

- Precise temperature control with ± 0.5°C from setting temperature

- Fast delivery and good after-sales service

## Specifications

On-grid DC inverter solar air conditioner 
Low electricity consumption 
Wide voltage from 110V-380V 
Environment friendly

Brief Introduction:

- On Grid DC inverter solar air conditioner takes the most leading technology in the world market.

- When in sunny day, the solar panel can provide the power together with on grid electrcity power

to provide to air conditioner for start running, when it running stable, the air conditioner can running just with the power from solar panel, so it no need any electrcity at this time.

- And when the air conditioner stop running at sunny day, the solar panel can produce the power to return to electrcity grid,then it can let the power meter reverse,then save the electcity cost.

- And when in cloudy day or night time, the air conditioner can automatic to switch to electrcity power.

Technical Parameter:

| On Grid DC inverter type solar air conditioner |  |  |
| --- | --- | --- |
| Model |  | FCDC-52GW/PV |
|  | BTU | (18000BTU) |
| Capacity | Cooling | 5200W |
|  | Heating | 5800W |
| Input power(w) |  | 900(480-1600) |
| Current(A) |  | 1.53~5.92 |
| Power Supply |  | 220V/50/60Hz |
| Gas |  | R410A |
| Air flow (m3/hour) |  | 750 |
| Solar panel (Mono) |  | 200W/30V |
| Noise(dBA) | Indoor | 42 |
|  | Outdoor | 55 |
| Weight | solar panel(kg) | 22 |
|  | Indoor(kg) | 17 |
|  | Outdoor(kg) | 54 |
| Dimension solar panel |  | 1360*990*40mm |
| Dimension ln unit |  | 1010*320*210mm |
| Dimension Out unit |  | 760*260*540mm |
| Dimension solar panel Package |  | 1400*1010*60mm |
| Dimension In Package |  | 1070*395*285mm |
| Dimension Out Package |  | 880*335*590mm |

Thoroughly Purified Air

Creates a Healthy & Refreshing Space

Cold Plasma                                                                  Electrostatic Deducting Generator

| Effective sterilization with more than 90% of bacteria killed Odor removal Air nutrition improvement with more negative oxygen ions | By making use of the principle of electrostatic adherence, it can effectively absorb the dust from the air. With detachable design, it is easy for complete cleaning to ensure the quality air. |
| --- | --- |

Photocatalytic Filter                                                         Active Carbon Filter

| This filter is able to completely oxidize and degrade organic contaminants. It can effectively eliminate 99.9% of bacteria, viruses and unpleasant smell. | Activated carbon can effectively adsorb smoke, pet odors, and other unpleasant odors. |
| --- | --- |

Catching Filter                                                               Silver Ion Filter

| Catching extracted from green tea. It can effectively eliminate 95% of carcinogenic agents, such as staphylococcus, streptococcus, salmonella, etc. | Silver ion is able to sterilize 99% of bacteria by suppressing proliferation of mold and bacteria and preventing the cause of unpleasant odors. |
| --- | --- |